## Revision History
Orignal Author : | Steve Miller
Last Modified by: | Steve Miller
Date: | 2021-05-18
Revision: | 1
Change notes:

## Aisle A
Phase 1
| U | Rack30 | Rack29 | Rack28 | Rack27 | Rack26 | Rack25 | Rack24 | Rack23 | Rack22 | Rack21 | Rack20 | Rack19 | In row | Rack18 | Rack17 | Rack16 | Rack15 | Rack14 | Rack13 | In row | Rack12 | Rack11 | Rack10 | Rack09 | Rack08 | Rack07 | Rack06 | Rack05 | Rack04 | Rack03 | Rack02 | Rack01 | U
|  | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 1500mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 1500mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm
| 42 | [7 empty] | Digi LTS 32 | [19 empty] | Digi LTS 32 |  |  |  |  | 42
| 41 | [13 empty] | 7050 (52) | 7010 (105) |  |  | 7050 (51) | 7010 (104) | [13 empty] | 41
| 40 |  | 7010 (109) |  |  | 7010 (108) |  |  | 7010 (107) |  |  | 7010 (106) | [10 empty] | 7010 (103) |  |  | 7010 (102) |  |  | 7010 (101) |  |  | 7010 (100) |  | 40
| 39 | [32 empty] | 39
| 38 | [14 empty] | 1U Server |  |  |  | 1U Server | [13 empty] | 38
| 37 |  | 7170 Storage Ply | [8 empty] | 7170 Cluster Ply | [10 empty] | 7170 Storage Ply | [8 empty] | 7170 Cluster Ply |  | 37
| 36 |  |  |  |  | 7050 (53) | [19 empty] | 7050 (50) | [7 empty] | 36
| 35 | [13 empty] | 7170 Storage Ply | 7170 Cluster Ply |  |  | 7170 Storage Ply | 7170 Cluster Ply | [13 empty] | 35
| 34 | [32 empty] | 34
| 33 |  | HLS-2 |  |  | HLS-2 |  |  | HLS-2 |  |  | HLS-2 | [10 empty] | HLS-2 |  |  | HLS-2 |  |  | HLS-2 |  |  | HLS-2 |  | 33
| 32 | HLS-2 |  | HLS-2 | HLS-2 |  | HLS-2 | HLS-2 |  | HLS-2 | HLS-2 |  | HLS-2 | [8 empty] | HLS-2 |  | HLS-2 | HLS-2 |  | HLS-2 | HLS-2 |  | HLS-2 | HLS-2 |  | HLS-2 | 32
| 31 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 31
| 30 | [32 empty] | 30
| 29 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 29
| 28 | [32 empty] | 28
| 27 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 27
| 26 | [32 empty] | 26
| 25 |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  |  | 2U Server | 2U Server |  |  | 2U Server | 2U Server |  |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  | 25
| 24 | HLS-2 | ply 3 | HLS-2 | HLS-2 | ply 3 | HLS-2 | HLS-2 | ply 3 | HLS-2 | HLS-2 | ply 3 | HLS-2 | [8 empty] | HLS-2 | ply 3 | HLS-2 | HLS-2 | ply 3 | HLS-2 | HLS-2 | ply 3 | HLS-2 | HLS-2 | ply 3 | HLS-2 | 24
| 23 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 23
| 22 |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 | [10 empty] | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  | 22
| 21 |  | ply2 |  |  | ply2 |  |  | ply2 |  |  | ply2 |  |  | 2U Server | 2U Server |  |  | 2U Server | 2U Server |  |  | ply2 |  |  | ply2 |  |  | ply2 |  |  | ply2 |  | 21
| 20 | [32 empty] | 20
| 19 |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 | [10 empty] | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  | 19
| 18 |  | ply 1 |  |  | ply 1 |  |  | ply 1 |  |  | ply 1 |  |  | 2U Server | 2U Server |  |  | 2U Server | 2U Server |  |  | ply 1 |  |  | ply 1 |  |  | ply 1 |  |  | ply 1 |  | 18
| 17 | [32 empty] | 17
| 16 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 |  | 2U Server | 2U Server |  |  | 2U Server | 2U Server |  | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | 16
| 15 | [32 empty] | 15
| 14 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 14
| 13 | [32 empty] | 13
| 12 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 12
| 11 | [32 empty] | 11
| 10 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 10
| 9 |  | 1U Server |  |  | 1U Server |  |  | 1U Server |  |  | 1U Server | [10 empty] | 1U Server |  |  | 1U Server |  |  | 1U Server |  |  | 1U Server |  | 9
| 8 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 8
| 7 | [32 empty] | 7
| 6 | [32 empty] | 6
| 5 | [13 empty] | 1U Server | 1U Server |  |  | 1U Server | 1U Server | [13 empty] | 5
| 4 | [13 empty] | 1U Server | 1U Server |  |  | 1U Server | 1U Server | [13 empty] | 4
| 3 | [13 empty] | 1U Server | 1U Server |  |  | 1U Server | 1U Server | [13 empty] | 3
| 2 | [13 empty] | 1U Server | 1U Server |  |  | 1U Server | 1U Server | [13 empty] | 2
| 1 | [32 empty] | 1
|  | 30 | 29 | 28 | 27 | 26 | 25 | 24 | 23 | 22 | 21 | 20 | 19 |  | 18 | 17 | 16 | 15 | 14 | 13 |  | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
50 | 7010 |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 0 | 1 |  |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1
140 | 7050 |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1
1200 | 7060dx4 |  | 3 |  |  | 3 |  |  | 3 |  |  | 3 | [10 empty] | 3 |  |  | 3 |  |  | 3 |  |  | 3
571 | 7170 |  | 1 | [8 empty] | 1 |  |  | 1 | 1 |  |  | 1 | 1 |  |  | 1 | [8 empty] | 1
1500 | stg server
1250 | 2U server | [13 empty] | 12 | 12 |  |  | 12 | 12
1000 | 1U server |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 4 | 5 |  |  | 4 | 5 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1
9000 | etron | 3 | 2 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | [8 empty] | 3 | 2 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | 3 | 2 | 3
|  | 0 | 50 | 0 | 0 | 50 | 0 | 0 | 50 | 0 | 0 | 50 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 50 | 0 | 0 | 50 | 0 | 0 | 50 | 0 | 0 | 50 | 0 | 0 | 50 | 0
|  | 0 | 140 | 0 | 0 | 140 | 0 | 0 | 140 | 0 | 0 | 140 | 0 | 0 | 140 | 0 | 0 | 0 | 140 | 0 | 0 | 0 | 140 | 0 | 0 | 140 | 0 | 0 | 140 | 0 | 0 | 140 | 0
|  | 0 | 3600 | 0 | 0 | 3600 | 0 | 0 | 3600 | 0 | 0 | 3600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3600 | 0 | 0 | 3600 | 0 | 0 | 3600 | 0 | 0 | 3600 | 0
|  | 0 | 571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 571 | 0 | 0 | 571 | 571 | 0 | 0 | 571 | 571 | 0 | 0 | 571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 571 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15000 | 15000 | 0 | 0 | 15000 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 1000 | 0 | 0 | 1000 | 0 | 0 | 1000 | 0 | 0 | 1000 | 0 | 0 | 4000 | 5000 | 0 | 0 | 4000 | 5000 | 0 | 0 | 1000 | 0 | 0 | 1000 | 0 | 0 | 1000 | 0 | 0 | 1000 | 0
|  | 27000 | 18000 | 27000 | 27000 | 18000 | 27000 | 27000 | 18000 | 27000 | 27000 | 18000 | 27000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27000 | 18000 | 27000 | 27000 | 18000 | 27000 | 27000 | 18000 | 27000 | 27000 | 18000 | 27000
|  | 27000 | 23361 | 27000 | 27000 | 22790 | 27000 | 27000 | 22790 | 27000 | 27000 | 23361 | 27000 | 0 | 19711 | 20621 | 0 | 0 | 19711 | 20621 | 0 | 27000 | 23361 | 27000 | 27000 | 22790 | 27000 | 27000 | 22790 | 27000 | 27000 | 23361 | 27000 |  | 697268

## Aisle B
Phase 1
U | Rack01 | Rack02 | Rack03 | Rack04 | Rack05 | Rack06 | Rack07 | Rack08 | Rack09 | Rack10 | Rack11 | Rack12 | In row | Rack13 | Rack14 | Rack15 | Rack16 | Rack17 | Rack18 | In row | Rack19 | Rack20 | Rack21 | Rack22 | Rack23 | Rack24 | Rack25 | Rack26 | Rack27 | Rack28 | Rack29 | Rack30 | U
| 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 1500mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 1500mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm
42 | Phase 1 Rack08: Digi LTS 32 | [15 empty] | Digi LTS 32 |  |  |  |  | 42
41 | [13 empty] | 7050 (55) | 7010 (114) |  |  | 7050 (56) | 7010 (115) | [13 empty] | 41
40 | Phase 1 Rack02: 7010 (110); Phase 1 Rack05: 7010 (111); Phase 1 Rack08: 7010 (112); Phase 1 Rack11: 7010 (113) | [9 empty] | 7010 (116) |  |  | 7010 (117) |  |  | 7010 (118) |  |  | 7010 (119) |  | 40
39 | [32 empty] | 39
38 | [14 empty] | 1U Server |  |  |  | 1U Server | [13 empty] | 38
37 | Phase 1 Rack02: 7170 Storage Ply; Phase 1 Rack11: 7170 Cluster Ply | [9 empty] | 7170 Storage Ply | [8 empty] | 7170 Cluster Ply |  | 37
36 | Phase 1 Rack05: 7050 (54) | [12 empty] | 7050 (57) | [7 empty] | 36
35 | [13 empty] | 7170 Storage Ply | 7170 Cluster Ply |  |  | 7170 Storage Ply | 7170 Cluster Ply | [13 empty] | 35
34 | [32 empty] | 34
33 | Phase 1 Rack02: HLS-2; Phase 1 Rack05: HLS-2; Phase 1 Rack08: HLS-2; Phase 1 Rack11: HLS-2 | [9 empty] | HLS-2 |  |  | HLS-2 |  |  | HLS-2 |  |  | HLS-2 |  | 33
32 | HLS-2 |  | HLS-2 | HLS-2 |  | HLS-2 | HLS-2 |  | HLS-2 | HLS-2 |  | HLS-2 | [8 empty] | HLS-2 |  | HLS-2 | HLS-2 |  | HLS-2 | HLS-2 |  | HLS-2 | HLS-2 |  | HLS-2 | 32
31 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 31
30 | [32 empty] | 30
29 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 29
28 | [32 empty] | 28
27 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 27 | bar: Phase 1 Rack01; Phase 1 Rack03 to Phase 1 Rack04; Phase 1 Rack06 to Phase 1 Rack07; Phase 1 Rack09 to Phase 1 Rack10; Phase 1 Rack12
26 | [32 empty] | 26
25 | Phase 1 Rack02: 7060DX4; Phase 1 Rack05: 7060DX4; Phase 1 Rack08: 7060DX4; Phase 1 Rack11: 7060DX4 |  | 2U Server | 2U Server |  |  | 2U Server | 2U Server |  |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  | 25
24 | HLS-2 | ply 3 | HLS-2 | HLS-2 | ply 3 | HLS-2 | HLS-2 | ply 3 | HLS-2 | HLS-2 | ply 3 | HLS-2 | [8 empty] | HLS-2 | ply 3 | HLS-2 | HLS-2 | ply 3 | HLS-2 | HLS-2 | ply 3 | HLS-2 | HLS-2 | ply 3 | HLS-2 | 24
23 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 23 | bar: Phase 1 Rack01; Phase 1 Rack03 to Phase 1 Rack04; Phase 1 Rack06 to Phase 1 Rack07; Phase 1 Rack09 to Phase 1 Rack10; Phase 1 Rack12
22 | Phase 1 Rack02: 7060DX4; Phase 1 Rack05: 7060DX4; Phase 1 Rack08: 7060DX4; Phase 1 Rack11: 7060DX4 | [9 empty] | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  | 22
21 | Phase 1 Rack02: ply2; Phase 1 Rack05: ply2; Phase 1 Rack08: ply2; Phase 1 Rack11: ply2 |  | 2U Server | 2U Server |  |  | 2U Server | 2U Server |  |  | ply2 |  |  | ply2 |  |  | ply2 |  |  | ply2 |  | 21
20 | [32 empty] | 20 | bar: Phase 1 Rack01; Phase 1 Rack03 to Phase 1 Rack04; Phase 1 Rack06 to Phase 1 Rack07; Phase 1 Rack09 to Phase 1 Rack10; Phase 1 Rack12
19 | Phase 1 Rack02: 7060DX4; Phase 1 Rack05: 7060DX4; Phase 1 Rack08: 7060DX4; Phase 1 Rack11: 7060DX4 | [9 empty] | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  |  | 7060DX4 |  | 19
18 | Phase 1 Rack02: ply 1; Phase 1 Rack05: ply 1; Phase 1 Rack08: ply 1; Phase 1 Rack11: ply 1 |  | 2U Server | 2U Server |  |  | 2U Server | 2U Server |  |  | ply 1 |  |  | ply 1 |  |  | ply 1 |  |  | ply 1 |  | 18
17 | [32 empty] | 17
16 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 |  | 2U Server | 2U Server |  |  | 2U Server | 2U Server |  | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | 16
15 | [32 empty] | 15
14 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 14
13 | [32 empty] | 13
12 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 12
11 | [32 empty] | 11
10 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 10
9 | Phase 1 Rack02: 1U Server; Phase 1 Rack05: 1U Server; Phase 1 Rack08: 1U Server; Phase 1 Rack11: 1U Server | [9 empty] | 1U Server |  |  | 1U Server |  |  | 1U Server |  |  | 1U Server |  | 9
8 | [13 empty] | 2U Server | 2U Server |  |  | 2U Server | 2U Server | [13 empty] | 8
7 | [32 empty] | 7
6 | [32 empty] | 6
5 | [13 empty] | 1U Server | 1U Server |  |  | 1U Server | 1U Server | [13 empty] | 5
4 | [13 empty] | 1U Server | 1U Server |  |  | 1U Server | 1U Server | [13 empty] | 4
3 | [13 empty] | 1U Server | 1U Server |  |  | 1U Server | 1U Server | [13 empty] | 3
2 | [13 empty] | 1U Server | 1U Server |  |  | 1U Server | 1U Server | [13 empty] | 2
1 | [32 empty] | 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 13 | 14 | 15 | 16 | 17 | 18 |  | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30

## Aisle C (2Kx3)
|  | Phase 1 |  |  |  | Phase 2 |  |  |  | Phase 3
[16 empty] | Ply 3 | Ply 2 | Ply 1 |  | Cluster Ply |  | Storage Ply | [9 empty] | ASSS
|  | Phase 1 |  |  |  | Reserved Storage | [6 empty] | Reserved Fabric |  |  | Phase 1 |  |  |  | Phase 1 |  | Phase 1 |  | Reserved |  | Phase 1
| U | Rack26 | Rack25 | Rack24 | Rack23 | Rack22 | Rack21 | Rack20 | Rack19 | Rack18 | Rack17 | In row | Rack16 | Rack15 | Rack14 | Rack13 | Rack12 | Rack11 | In row | Rack10 | Rack09 | Rack08 | Rack07 | Rack06 | Rack05 | Rack04 | Rack03 | Rack02 | Rack01 | U
|  | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 1500mm | 800mm | 800mm | 800mm | 800mm | 800mm | 800mm | 1500mm | 800mm | 800mm | 800mm | 800mm | 600mm | 600mm | 600mm | 600mm | 800mm | 800mm
| 42 | [18 empty] | Digi LTS 32 | 7010 (12) | Digi LTS 32 | 7010 (13) | [6 empty] | 42
| 41 | 7050 | 7010 (30) | 7050 | 7010 (31) |  | 7010 (32) |  | 7010 (33) |  | 7010 (34) |  |  |  | 7010 (21) |  | Digi LTS 32 | 7010 (20) | [6 empty] | 7010 (53) |  | 7010 (52) | 7010 (50) | 7010 (10) Digi | 41
| 40 | [28 empty] | 40
| 39 | Digi LTS 32 | [21 empty] | 7050 | 7050 | 7050 | 7050 |  |  | 39
| 38 | [18 empty] | Cable | Cable | Cable | Cable |  |  |  |  | 7050 mgt bb | 7050 mgt bb | 38
| 37 | 7170 Storage Ply | 7170 Storage Ply | 7170 Storage Ply | 7170 Storage Ply | [10 empty] | Cable | Cable | Cable |  | 7170 | 7170 | 7170 | 7170 |  | 1U Server | Digi LTS 32 | 1U Server |  |  | 37
| 36 | [14 empty] | 7060DX4 | 7060DX4 | 7060DX4 | [11 empty] | 36
| 35 | [22 empty] | 7170 Storage Ply | 7170 Cluster Ply | 7170 Storage Ply | 7170 Cluster Ply | 7170 Prov bbone | 7170 Prov bbone | 35
| 34 | [28 empty] | 34
| 33 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [10 empty] | Cable | Cable | Cable |  | Cable | Cable | Cable | Cable | [6 empty] | 33
| 32 | [14 empty] | 7060DX4 | 7060DX4 | 7060DX4 |  | 7170 | 7170 | 7170 | 7170 | [6 empty] | 32
| 31 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [18 empty] | 2U Server | 2U Server | 2U Server | 2U Server | 7170 Cluster Ply | 7170 Cluster Ply | 31
| 30 | [28 empty] | 30
| 29 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [10 empty] | Cable | Cable | Cable | [5 empty] | 2U Server | 2U Server | 2U Server | 2U Server |  |  | 29
| 28 | [14 empty] | 7060DX4 | 7060DX4 | 7060DX4 |  | Cable | Cable | Cable | Cable | [6 empty] | 28
| 27 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [14 empty] | 7170 | 7170 | 7170 | 7170 | 2U Server | 2U Server | 2U Server | 2U Server |  |  | 27
| 26 | [28 empty] | 26
| 25 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [10 empty] | Cable | Cable | Cable | [5 empty] | 2U Server | 2U Server | 2U Server | 2U Server | Firewall | Firewall | 25
| 24 | [14 empty] | 7060DX4 | 7060DX4 | 7060DX4 | [11 empty] | 24
| 23 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [14 empty] | Cable | Cable | Cable | Cable | 2U Server | 2U Server | 2U Server | 2U Server | Jump Box | Jump Box | 23
| 22 | [18 empty] | 7170 | 7170 | 7170 | 7170 | [6 empty] | 22
| 21 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [10 empty] | Cable | Cable | Cable | [5 empty] | 2U Server | 2U Server | 2U Server | 2U Server |  |  | 21
| 20 | [14 empty] | 7060DX4 | 7060DX4 | 7060DX4 | [9 empty] | Jump Box | Jump Box | 20
| 19 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [24 empty] | 19
| 18 | [18 empty] | Cable | Cable | Cable | Cable | 2U Server | 2U Server | 2U Server | 2U Server |  |  | 18
| 17 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [10 empty] | Cable | Cable | Cable |  | 7170 | 7170 | 7170 | 7170 | [5 empty] | 1U Server | 17
| 16 | [14 empty] | 7060DX4 | 7060DX4 | 7060DX4 | [5 empty] | 2U Server | 2U Server | 2U Server | 2U Server |  |  | 16
| 15 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [24 empty] | 15
| 14 | [22 empty] | 2U Server | 2U Server | 2U Server | 2U Server |  |  | 14
| 13 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [10 empty] | Cable | Cable | Cable |  | Cable | Cable | Cable | Cable | [6 empty] | 13
| 12 | [14 empty] | 7060DX4 | 7060DX4 | 7060DX4 |  | 7170 | 7170 | 7170 | 7170 | 2U Server | 2U Server | 2U Server | 2U Server |  |  | 12
| 11 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [22 empty] | NetApp |  | 11
| 10 | [22 empty] | 2U Server | 2U Server | 2U Server | 2U Server |  |  | 10
| 9 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [10 empty] | Cable | Cable | Cable | [11 empty] | 9
| 8 | [14 empty] | 7060DX4 | 7060DX4 | 7060DX4 |  | Cable | Cable | Cable | Cable | 2U Server | 2U Server | 2U Server | 2U Server |  |  | 8
| 7 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [14 empty] | 7170 | 7170 | 7170 | 7170 | [6 empty] | 7
| 6 | [28 empty] | 6
| 5 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [18 empty] | 1U Server | 1U Server | 1U Server | 1U Server |  |  | 5
| 4 | [22 empty] | 1U Server | 1U Server | 1U Server | 1U Server |  |  | 4
| 3 | 2U Storage Server | 2U Storage Server | 2U Storage Server | 2U Storage Server | [14 empty] | Cable | Cable | Cable | Cable | 1U Server | 1U Server | 1U Server | 1U Server |  |  | 3
| 2 | [18 empty] | 7170 | 7170 | 7170 | 7170 | 1U Server | 1U Server | 1U Server | 1U Server |  |  | 2
| 1 | [28 empty] | 1
|  | 26 | 25 | 24 | 23 | 22 | 21 | 20 | 19 | 18 | 17 |  | 16 | 15 | 14 | 13 | 12 | 11 |  | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
50 | 7010 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  |  |  | 1 |  |  | 1 |  |  | 1 |  | 1 |  | 1 |  | 1 | 1 | 1
140 | 7050 | 1 |  | 1 | [19 empty] | 1 | 1 | 1 | 1 | 1 | 1
1600 | 7060dx4 | [14 empty] | 8 | 8 | 8
571 | 7170 | 1 | 1 | 1 | 1 | [14 empty] | 8 | 8 | 8 | 8 | 1 | 1 | 1 | 1 | 2 | 2
1500 | stg server | 16 | 16 | 16 | 16
1250 | 2U server | [22 empty] | 12 | 12 | 12 | 12 | 2 | 2
1000 | 1U server | [22 empty] | 4 | 5 | 4 | 5 | 1 | 2
|  | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 0 | 0 | 50 | 0 | 0 | 50 | 0 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 50 | 50
|  | 140 | 0 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140 | 140 | 140 | 140 | 140 | 140
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12800 | 12800 | 12800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 571 | 571 | 571 | 571 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4568 | 4568 | 4568 | 4568 | 571 | 571 | 571 | 571 | 1142 | 1142
|  | 24000 | 24000 | 24000 | 24000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15000 | 15000 | 15000 | 15000 | 2500 | 2500
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4000 | 5000 | 4000 | 5000 | 1000 | 2000
|  | 24711 | 24621 | 24711 | 24621 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 0 | 0 | 50 | 12800 | 12800 | 12850 | 0 | 4568 | 4618 | 4568 | 4618 | 19711 | 20761 | 19711 | 20761 | 4832 | 5832 |  | 247294

## Aisle D
|  | Phase 1 SysOp deployment test | [6 empty] | Phase 1 backup |  | Phase 1 CI/CD
| U | Rack01 | Rack02 | Rack03 | Pole | Rack04 | Rack05 | Rack06 | Rack07 | Rack08 | Rack09 | Rack10 | In row | Pole | Rack11 | Rack12 | Rack13 | Rack14 | Rack15 | Rack16 | Rack17 | Rack18 | Rack19 | In row | Pole | Rack20 | Rack21 | U
|  | 800mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 2100mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 1200mm | 600mm | 600mm | 600mm
| 42 | [26 empty] | 42
| 41 | 7010 (14) | 7050 | 7010 (54) | [5 empty] | 7010 (40) | 7050 | 7010 (91) |  |  | Rack17: 7010 (38); Rack18: 7050 |  |  | 7050 | 7010 (94) | 41
| 40 | [5 empty] | 7010 (90) | [7 empty] | Rack12: 7010 (92); Rack15: 7010 (93) |  |  |  |  | 40
| 39 | 7060DX4 | [25 empty] | 39
| 38 | ply 3 | Digi LTS 32 | 1U Server |  |  |  |  | 7050 | 7170 Storage Ply |  | 1U Server | [14 empty] | 1U Server | 38
| 37 | 7060DX4 | [12 empty] | Rack12: 7170 Storage Ply; Rack15: 7170 Cluster Ply; Rack17: 7170 Storage Ply; Rack18: 7170 Storage Ply |  |  |  |  | 37
| 36 | [5 empty] | 7050 | [7 empty] | Rack13: Digi LTS 32 |  |  |  |  | 36
| 35 | 7060DX4 | 7170 Storage Ply | 7170 Cluster Ply | [6 empty] | 7170 Storage Ply | 7170 Cluster Ply | [13 empty] | 7170 Storage Ply | 7170 Cluster Ply | 35
| 34 | ply 2 | [25 empty] | 34
| 33 | 7060DX4 |  |  |  |  | HLS-2 | [7 empty] | Rack12: HLS-2; Rack15: HLS-2; Rack17: 2U Storage Server; Rack18: 2U Storage Server |  |  |  |  | 33
| 32 |  |  |  |  | HLS-2 |  | HLS-2 | [6 empty] | Rack11: HLS-2; Rack13: HLS-2; Rack14: HLS-2; Rack16: HLS-2 |  |  |  |  | 32
| 31 | 7060DX4 | 2U Server | 2U Server | [6 empty] | 2U Server | 2U Server |  |  | Rack17: 2U Storage Server; Rack18: 2U Storage Server |  |  | 2U Server | 2U Server | 31
| 30 | ply 1 | [25 empty] | 30 | bar: Rack11 to Rack18
| 29 | 7060DX4 | 2U Server | 2U Server | [6 empty] | 2U Server | 2U Server |  |  | Rack17: 2U Storage Server; Rack18: 2U Storage Server |  |  | 2U Server | 2U Server | 29
| 28 | [26 empty] | 28 | bar: Rack11 to Rack18
| 27 |  | 2U Server | 2U Server | [6 empty] | 2U Server | 2U Server |  |  | Rack17: 2U Storage Server; Rack18: 2U Storage Server |  |  | 2U Server | 2U Server | 27
| 26 | 7060DX4 | [25 empty] | 26 | bar: Rack17 to Rack18
| 25 |  | 2U Server | 2U Server |  |  | 7060DX4 |  |  |  | 2U Server | 2U Server |  |  | Rack12: 7060DX4; Rack15: 7060DX4; Rack17: 2U Storage Server; Rack18: 2U Storage Server |  |  | 2U Server | 2U Server | 25
| 24 |  |  |  |  | HLS-2 |  | HLS-2 | [6 empty] | Rack11: HLS-2; Rack13: HLS-2; Rack14: HLS-2; Rack16: HLS-2 |  |  |  |  | 24
| 23 | 7170 | 2U Server | 2U Server | [6 empty] | 2U Server | 2U Server |  |  | Rack17: 2U Storage Server; Rack18: 2U Storage Server |  |  | 2U Server | 2U Server | 23
| 22 | [5 empty] | 7060DX4 | [7 empty] | Rack12: 7060DX4; Rack15: 7060DX4 |  |  |  |  | 22
| 21 |  | 2U Server | 2U Server | [6 empty] | 2U Server | 2U Server |  |  | Rack17: 2U Storage Server; Rack18: 2U Storage Server |  |  | 2U Server | 2U Server | 21
| 20 | [7 empty] | Backup Server | Backup Server | [17 empty] | 20 | bar: Rack11; Rack13 to Rack14; Rack16 to Rack18
| 19 | 7050SX3 |  |  |  |  | 7060DX4 | [7 empty] | Rack12: 7060DX4; Rack15: 7060DX4; Rack17: 2U Storage Server; Rack18: 2U Storage Server |  |  |  |  | 19
| 18 |  | 2U Server | 2U Server | [6 empty] | 2U Server | 2U Server | [13 empty] | 2U Server | 2U Server | 18 | bar: Rack17 to Rack18
| 17 | [26 empty] | 17
| 16 | 7010 | 2U Server | 2U Server |  | HLS-2 | HLS-2 | HLS-2 | Backup Server | Backup Server | 2U Server | 2U Server |  |  | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | HLS-2 | [5 empty] | 2U Server | 2U Server | 16
| 15 | [26 empty] | 15 | bar: Rack11 to Rack16
| 14 |  | 2U Server | 2U Server | [6 empty] | 2U Server | 2U Server | [13 empty] | 2U Server | 2U Server | 14 | bar: Rack11 to Rack16
| 13 | [26 empty] | 13 | bar: Rack11 to Rack16
| 12 |  | 2U Server | 2U Server |  |  |  |  | Backup Server | Backup Server | 2U Server | 2U Server | [13 empty] | 2U Server | 2U Server | 12 | bar: Rack11 to Rack16
| 11 | [26 empty] | 11 | bar: Rack11 to Rack16
| 10 |  | 2U Server | 2U Server | [6 empty] | 2U Server | 2U Server | [13 empty] | 2U Server | 2U Server | 10
| 9 | [5 empty] | 1U Server | [7 empty] | Rack12: 1U Server; Rack15: 1U Server |  |  |  |  | 9
| 8 |  | 2U Server | 2U Server |  |  |  |  | Backup Server | Backup Server | 2U Server | 2U Server | [13 empty] | 2U Server | 2U Server | 8
| 7 | [26 empty] | 7
| 6 | [26 empty] | 6
| 5 |  | 1U Server | 1U Server | [6 empty] | 1U Server | 1U Server | [13 empty] | 1U Server | 1U Server | 5
| 4 |  | 1U Server | 1U Server |  |  |  |  | Backup Server | Backup Server | 1U Server | 1U Server | [13 empty] | 1U Server | 1U Server | 4
| 3 |  | 1U Server | 1U Server | [6 empty] | 1U Server | 1U Server | [13 empty] | 1U Server | 1U Server | 3
| 2 |  | 1U Server | 1U Server | [6 empty] | 1U Server | 1U Server | [13 empty] | 1U Server | 1U Server | 2
| 1 | [26 empty] | 1
|  | 1 | 2 | 3 |  | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  |  | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 |  |  | 20 | 21
50 | 7010 | 2 |  | 1 |  |  | 1 |  |  | 1 |  | 1 | [14 empty] | 1 | bar: 12; 15; 17
140 | 7050 | 1 | 1 |  |  |  | 1 |  | 1 |  | 1 | [14 empty] | 1 | bar: 12; 15; 18
1600 | 7060dx4 | 7 |  |  |  |  | 3 | [7 empty] | 12: 3; 15: 3
571 | 7170 | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 | [13 empty] | 1 | 1 | bar: 12; 15
1500 | stg server | [13 empty] | 17: 8; 18: 8
1250 | 2U server |  | 12 | 12 | [6 empty] | 12 | 12 | [13 empty] | 12 | 12
1000 | 1U server |  | 4 | 5 |  |  | 1 |  |  |  | 4 | 5 | [13 empty] | 4 | 5 | bar: 12; 15
9000 | Etron |  |  |  |  | 3 | 2 | 3 | [6 empty] | 3 | 2 | 3 | 3 | 2 | 3
|  | 100 | 0 | 50 | 0 | 0 | 50 | 0 | 0 | 50 | 0 | 50 | 0 | 0 | 0 | 50 | 0 | 0 | 50 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 50
|  | 140 | 140 | 0 | 0 | 0 | 140 | 0 | 140 | 0 | 140 | 0 | 0 | 0 | 0 | 140 | 0 | 0 | 140 | 0 | 0 | 140 | 0 | 0 | 0 | 140 | 0
|  | 11200 | 0 | 0 | 0 | 0 | 4800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4800 | 0 | 0 | 4800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 571 | 571 | 571 | 0 | 0 | 0 | 0 | 0 | 571 | 571 | 571 | 0 | 0 | 0 | 571 | 0 | 0 | 571 | 0 | 0 | 0 | 0 | 0 | 0 | 571 | 571
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12000 | 12000 | 0 | 0 | 0 | 0 | 0
|  | 0 | 15000 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 15000 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15000 | 15000
|  | 0 | 4000 | 5000 | 0 | 0 | 1000 | 0 | 0 | 0 | 4000 | 5000 | 0 | 0 | 0 | 1000 | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 4000 | 5000
|  | 0 | 0 | 0 | 0 | 27000 | 18000 | 27000 | 0 | 0 | 0 | 0 | 0 | 0 | 27000 | 18000 | 27000 | 27000 | 18000 | 27000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 12011 | 19711 | 20621 | 0 | 27000 | 23990 | 27000 | 140 | 621 | 19711 | 20621 | 0 | 0 | 27000 | 24561 | 27000 | 27000 | 24561 | 27000 | 12050 | 12140 | 0 | 0 | 0 | 19711 | 20621 |  | 393070

## Aisle E
Phase 1
U | Rack35 | Rack34 | Rack33 | Rack32 | Rack31 | Rack30 | Rack29 | Rack28 | Rack27 | Rack26 | Rack25 | Rack24 | Rack23 | Rack22 | Rack21 | Rack20 | Rack19 | Rack18 | Rack17 | Rack16 | Rack15 | Rack14 | Rack13 | Rack12 | Rack11 | Rack10 | Rack09 | Rack08 | Rack07 | Rack06 | Rack05 | Rack04 | Rack03 | Rack02 | Rack01 | U
| 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm
42 | 7010 (106) | 7170 Storage Ply | Liquid to liquid Heat Exchanger | 7010 (106) | 7050 (50) | 7010 (106) | 7170 Storage Ply | Liquid to liquid Heat Exchanger | 7010 (106) | 7050 (50) | 7010 (106) |  | Liquid to liquid Heat Exchanger | 7010 (106) | 7170 Cluster Ply | 7010 (106) | 7170 Storage Ply | Liquid to liquid Heat Exchanger | 7010 (106) | 7050 (50) | 7010 (106) |  | Liquid to liquid Heat Exchanger | 7010 (106) | 7170 Cluster Ply | 7010 (106) | 7170 Storage Ply | Liquid to liquid Heat Exchanger | 7010 (106) | 7050 (50) | 7010 (106) |  | Liquid to liquid Heat Exchanger | 7010 (106) | 7170 Cluster Ply | 42
41 |  |  |  | 7170 Cluster Ply | [31 empty] | 41
40 | [35 empty] | 40
39 | [35 empty] | 39
38 | [35 empty] | 38
37 | [35 empty] | 37
36 | 1U Server | 7060DX4 |  | 1U Server | 7060DX4 | 1U Server | 7060DX4 |  | 1U Server | 7060DX4 | 1U Server | 7060DX4 |  | 1U Server | 7060DX4 | 1U Server | 7060DX4 |  | 1U Server | 7060DX4 | 1U Server | 7060DX4 |  | 1U Server | 7060DX4 | 1U Server | 7060DX4 |  | 1U Server | 7060DX4 | 1U Server | 7060DX4 |  | 1U Server | 7060DX4 | 36
35 | [35 empty] | 35
34 | 7060DX4 | 7060DX4 |  | 7060DX4 | 7060DX4 | 7060DX4 | 7060DX4 |  | 7060DX4 | 7060DX4 | 7060DX4 | 7060DX4 |  | 7060DX4 | 7060DX4 | 7060DX4 | 7060DX4 |  | 7060DX4 | 7060DX4 | 7060DX4 | 7060DX4 |  | 7060DX4 | 7060DX4 | 7060DX4 | 7060DX4 |  | 7060DX4 | 7060DX4 | 7060DX4 | 7060DX4 |  | 7060DX4 | 7060DX4 | 34
33 | [35 empty] | 33
32 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | 32
31 | [35 empty] | 31
30 | [35 empty] | 30
29 | [35 empty] | 29
28 | [35 empty] | 28
27 | [35 empty] | 27
26 | [35 empty] | 26
25 | [35 empty] | 25
24 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | 24
23 | [35 empty] | 23
22 | [35 empty] | 22
21 | [35 empty] | 21
20 | [35 empty] | 20
19 | [35 empty] | 19
18 | [35 empty] | 18
17 | [35 empty] | 17
16 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | 16
15 | [35 empty] | 15
14 | [35 empty] | 14
13 | [35 empty] | 13
12 | [35 empty] | 12
11 | [35 empty] | 11 |  | 14 Mega Pods 896 Gaudi
10 | [35 empty] | 10
9 | [35 empty] | 9
8 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | 8
7 | [35 empty] | 7 |  | Total Row Power |  | 1437674
6 | [35 empty] | 6 |  |  |  |  | ave l2l power
5 | [35 empty] | 5 |  | Liquid Cooling |  | 1008000 | 144000
4 | [35 empty] | 4
3 | [35 empty] | 3 |  | Ave Rack power |  | 51345.5
2 | [35 empty] | 2
1 | [35 empty] | 1
| 35 | 34 | 33 | 32 | 31 | 30 | 29 | 28 | 27 | 26 | 25 | 24 | 23 | 22 | 21 | 20 | 19 | 18 | 17 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
[37 empty] | Total Units | Unit Power | Total Power
7010 | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  |  | 14 | 50 | 700
7050 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  | 7 | 140 | 980
7060next | 1 | 2 |  | 1 | 2 | 1 | 2 |  | 1 | 2 | 1 | 2 |  | 1 | 2 | 1 | 2 |  | 1 | 2 | 1 | 2 |  | 1 | 2 | 1 | 2 |  | 1 | 2 | 1 | 2 |  | 1 | 2 |  | 42 | 1600 | 67200
7170 |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 14 | 571 | 7994
hls-3 total | 4 | 4 |  | 4 | 4 | 4 | 4 |  | 4 | 4 | 4 | 4 |  | 4 | 4 | 4 | 4 |  | 4 | 4 | 4 | 4 |  | 4 | 4 | 4 | 4 |  | 4 | 4 | 4 | 4 |  | 4 | 4 |  | 112 | 12000 | 1344000
hls-3 water | 4 | 4 |  | 4 | 4 | 4 | 4 |  | 4 | 4 | 4 | 4 |  | 4 | 4 | 4 | 4 |  | 4 | 4 | 4 | 4 |  | 4 | 4 | 4 | 4 |  | 4 | 4 | 4 | 4 |  | 4 | 4 |  | 112 | 9000 | 1008000
server | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  |  | 14 | 1200 | 16800

## Aisle E (2)
Phase 1
U | Rack35 | Rack34 | Rack33 | Rack32 | Rack31 | Rack30 | Rack29 | Rack28 | Rack27 | Rack26 | Rack25 | Rack24 | Rack23 | Rack22 | Rack21 | Rack20 | Rack19 | Rack18 | Rack17 | Rack16 | Rack15 | Rack14 | Rack13 | Rack12 | Rack11 | Rack10 | Rack09 | Rack08 | Rack07 | Rack06 | Rack05 | Rack04 | Rack03 | Rack02 | Rack01 | U
| 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm
42 | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server | 7010 (106) | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server | 7010 (106) | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server | 7010 (106) | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server | 7010 (106) | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server | 7010 (106) | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server | 7010 (106) | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server |  | 42
41 |  |  | 1U Server | 1U Server |  |  |  | 1U Server | 1U Server |  |  |  | 1U Server | 1U Server |  |  |  | 1U Server | 1U Server |  |  |  | 1U Server | 1U Server |  |  |  | 1U Server | 1U Server |  |  |  | 1U Server | 1U Server |  | 41
40 |  | 7170 Cluster Ply |  |  | 7050 |  | 7170 Storage Ply | 7170 Cluster Ply |  | 7050 |  |  |  | 7170 Storage Ply | 7170 Cluster Ply |  | 7050 |  | 7170 Storage Ply |  |  | 7170 Cluster Ply |  |  | 7050 |  | 7170 Storage Ply | 7170 Cluster Ply |  |  |  | 7050 |  | 7170 Storage Ply |  | 40
39 | [35 empty] | 39
38 | [35 empty] | 38
37 | [35 empty] | 37
36 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 |  |  | 36
35 | [35 empty] | 35
34 | [35 empty] | 34
33 | [35 empty] | 33
32 | [35 empty] | 32
31 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 |  | 31
30 | [35 empty] | 30
29 | [35 empty] | 29
28 | [35 empty] | 28
27 | [35 empty] | 27
26 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 |  | 26
25 | [35 empty] | 25
24 | [35 empty] | 24
23 | [35 empty] | 23
22 | [35 empty] | 22
21 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  |  | 21
20 |  |  | 7060DX4 | 7060DX4 |  |  |  | 7060DX4 | 7060DX4 |  |  |  | 7060DX4 | 7060DX4 |  |  |  | 7060DX4 | 7060DX4 |  |  |  | 7060DX4 | 7060DX4 |  |  |  | 7060DX4 | 7060DX4 |  |  |  | 7060DX4 | 7060DX4 |  | 20
19 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  |  | 19
18 |  |  | 7060DX4 |  |  |  |  | 7060DX4 |  |  |  |  | 7060DX4 |  |  |  |  | 7060DX4 |  |  |  |  | 7060DX4 |  |  |  |  | 7060DX4 |  |  |  |  | 7060DX4 |  |  | 18
17 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  |  | 17
16 | [35 empty] | 16
15 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 |  | 15
14 | [35 empty] | 14
13 | [35 empty] | 13
12 | [35 empty] | 12
11 | [35 empty] | 11 |  | 20 Mega Pods 1280 Gaudi
10 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 |  | 10
9 | [35 empty] | 9
8 | [35 empty] | 8
7 | [35 empty] | 7 |  | Total Row Power |  | 2048470
6 | [35 empty] | 6 |  |  |  |  | ave l2l power
5 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 |  |  | 5 |  | Liquid Cooling |  | 1440000 | 205714.2857
4 | [35 empty] | 4
3 | [35 empty] | 3 |  | ave rack power |  | 75869.2593
2 | [35 empty] | 2 |  | worst case |  | 77000
1 | [35 empty] | 1
| 35 | 34 | 33 | 32 | 31 | 30 | 29 | 28 | 27 | 26 | 25 | 24 | 23 | 22 | 21 | 20 | 19 | 18 | 17 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
[37 empty] | Total Units | Unit Power | Total Power
7010 |  | 1 | 1 |  | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 |  |  |  | 20 | 50 | 1000 |  | 50
7050 |  |  |  |  | 1 |  |  |  |  | 1 | [14 empty] | 1 | [6 empty] | 1 |  |  |  |  | 4 | 140 | 560 |  | 140
7060next |  | 3 | 2 | 1 | 3 |  | 3 | 2 | 1 | 3 |  | 3 | 2 | 1 | 3 |  | 3 | 2 | 1 | 3 |  | 3 | 2 | 1 | 3 |  | 3 | 2 | 1 | 3 |  | 3 | 2 | 1 |  |  | 60 | 1600 | 96000 |  | 4800
7170 |  | 1 |  |  |  |  | 1 | 1 | [5 empty] | 1 | 1 |  |  |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | [5 empty] | 1 |  |  | 10 | 571 | 5710 |  | 0
hls-3 total |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 4 |  |  | 160 | 12000 | 1920000 |  | 72000
hls-3 water |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 4 |  |  | 160 | 9000 | 1440000
server |  |  | 1 | 2 |  |  |  | 1 | 2 |  |  |  | 1 | 2 |  |  |  | 1 | 2 |  |  |  | 1 | 2 |  |  |  | 1 | 2 |  |  |  | 1 | 2 |  |  | 21 | 1200 | 25200 |  | 0
76990

## Aisle E (3)
Phase 1
U | Rack35 | Rack34 | Rack33 | Rack32 | Rack31 | Rack30 | Rack29 | Rack28 | Rack27 | Rack26 | Rack25 | Rack24 | Rack23 | Rack22 | Rack21 | Rack20 | Rack19 | Rack18 | Rack17 | Rack16 | Rack15 | Rack14 | Rack13 | Rack12 | Rack11 | Rack10 | Rack09 | Rack08 | Rack07 | Rack06 | Rack05 | Rack04 | Rack03 | Rack02 | Rack01 | U
| 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm | 600mm
42 | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server | 7010 (106) | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server | 7010 (106) | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server | 7010 (106) | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server | 7010 (106) | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server | 7010 (106) | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server | 7010 (106) | Liquid to liquid Heat Exchanger | 7010 (106) | 7010 (106) | 1U Server | 7010 (106) | 42
41 |  |  | 1U Server | 1U Server |  |  |  | 1U Server | 1U Server |  |  |  | 1U Server | 1U Server |  |  |  | 1U Server | 1U Server |  |  |  | 1U Server | 1U Server |  |  |  | 1U Server | 1U Server |  |  |  | 1U Server | 1U Server |  | 41
40 |  | 7170 Cluster Ply |  |  | 7050 |  | 7170 Storage Ply | 7170 Cluster Ply |  | 7050 |  |  |  | 7170 Storage Ply | 7170 Cluster Ply |  | 7050 |  | 7170 Storage Ply |  |  | 7170 Cluster Ply |  |  | 7050 |  | 7170 Storage Ply | 7170 Cluster Ply |  |  |  | 7050 |  | 7170 Storage Ply |  | 40
39 | [35 empty] | 39 |  |  | HLS-3 | HLS-3 | Server | Server
38 | [35 empty] | 38 |  |  |  |  | HLS-3
37 |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server | 37 | [5 empty] | HLS-3
36 | [35 empty] | 36 |  |  | Server | Server | AC/DC
35 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 | 35 |  |  |  | HLS-3 | HLS-3 | AC/DC
34 | [35 empty] | 34 |  |  | HLS-3 |  |  | HLS-3
33 | [35 empty] | 33 |  |  |  |  | Server
32 |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server | 32 |  |  |  | Server |  | Server
31 | [35 empty] | 31 |  |  | Server
30 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 | 30
29 | [35 empty] | 29
28 | [35 empty] | 28 |  |  | 2.4KW/u | 3KW/u | 3.4KW/u | 2.7KW/u
27 |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server | 27
26 | [35 empty] | 26 |  |  | 96 | 120 | 120 | 96
25 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 | 25
24 | [35 empty] | 24
23 | [35 empty] | 23
22 | [35 empty] | 22
21 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 | 21
20 |  |  | 7060DX4 | 7060DX4 |  |  |  | 7060DX4 | 7060DX4 |  |  |  | 7060DX4 | 7060DX4 |  |  |  | 7060DX4 | 7060DX4 |  |  |  | 7060DX4 | 7060DX4 |  |  |  | 7060DX4 | 7060DX4 |  |  |  | 7060DX4 | 7060DX4 |  | 20
19 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 | 19
18 |  |  | 7060DX4 |  |  |  |  | 7060DX4 |  |  |  |  | 7060DX4 |  |  |  |  | 7060DX4 |  |  |  |  | 7060DX4 |  |  |  |  | 7060DX4 |  |  |  |  | 7060DX4 |  |  | 18
17 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 |  | 7060DX4 |  |  | 7060DX4 | 17
16 | [35 empty] | 16
15 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 | 15
14 | [35 empty] | 14
13 | [35 empty] | 13
12 |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server | 12
11 | [35 empty] | 11 |  | 20 Mega Pods 1280 Gaudi
10 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 | 10
9 | [35 empty] | 9 |  | L2L
8 | [35 empty] | 8
7 |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server | 7 |  | Total Row Power |  | 1921120
6 | [35 empty] | 6 | [5 empty] | ave l2l power
5 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 |  | HLS-3 | HLS-3 | HLS-3 | HLS-3 | 5 |  | Liquid Cooling |  | 1176000 |  | 168000
4 | [35 empty] | 4
3 | [35 empty] | 3 |  | ave rack power |  | 71152.5926
2 |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server |  | Server | Server | Server | Server | 2 |  | worst case |  | 77000
1 | [35 empty] | 1
| 35 | 34 | 33 | 32 | 31 | 30 | 29 | 28 | 27 | 26 | 25 | 24 | 23 | 22 | 21 | 20 | 19 | 18 | 17 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 |  | Total Units | Unit Power | Total Power
L2L | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  |  | 1 | [5 empty] | 7 | 4000 | 28000
7010 |  | 1 | 1 |  | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 |  | 1 |  | 1 | 1 |  | 1 |  | 21 | 50 | 1050 |  |  | 50
7050 |  |  |  |  | 1 |  |  |  |  | 1 |  | 0 | [12 empty] | 1 | [6 empty] | 1 |  |  |  |  | 4 | 140 | 560 |  |  | 140
7060next |  | 3 | 2 | 1 | 3 |  | 3 | 2 | 1 | 3 |  | 3 | 2 | 1 | 3 |  | 3 | 2 | 1 | 3 |  | 3 | 2 | 1 | 3 |  | 3 | 2 | 1 | 3 |  | 3 | 2 | 1 | 3 |  | 63 | 1600 | 100800 |  |  | 4800
7170 |  | 1 |  |  |  |  | 1 | 1 |  |  |  | 0 |  | 1 | 1 |  | 0 |  | 1 |  |  | 1 |  |  |  |  | 1 | 1 | [5 empty] | 1 |  |  | 10 | 571 | 5710 |  |  | 0
HLS-Server |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 168 | 1500 | 252000
hls-3 total |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 168 | 9000 | 1512000 |  |  | 54000
hls-3 water |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 |  | 168 | 7000 | 1176000
server |  |  | 1 | 2 |  |  |  | 1 | 2 |  |  |  | 1 | 2 |  |  |  | 1 | 2 |  |  |  | 1 | 2 |  |  |  | 1 | 2 |  |  |  | 1 | 2 |  |  | 21 | 1000 | 21000 |  |  | 0
| 4000 |  |  |  |  | 4000 |  |  |  |  | 4000 |  |  |  |  | 4000 |  |  |  |  | 4000 |  |  |  |  | 4000 |  |  |  |  | 4000
TOTAL |  | 68421 | 67250 | 66600 | 67990 | 0 | 68421 | 67821 | 66600 | 67990 | 0 | 67850 | 67250 | 67171 | 68421 | 0 | 67850 | 67250 | 67171 | 67850 | 0 | 68421 | 67250 | 66600 | 67990 | 0 | 68421 | 67821 | 66600 | 67850 | 0 | 67990 | 67250 | 67171 | 67850 |  |  |  | 1921120 |  |  | 58990
LIQUID |  | 42000 | 42000 | 42000 | 42000 | 0 | 42000 | 42000 | 42000 | 42000 | 0 | 42000 | 42000 | 42000 | 42000 | 0 | 42000 | 42000 | 42000 | 42000 | 0 | 42000 | 42000 | 42000 | 42000 | 0 | 42000 | 42000 | 42000 | 42000 | 0 | 42000 | 42000 | 42000 | 42000 |  |  |  | 1176000
AIR |  | 26421 | 25250 | 24600 | 25990 | 0 | 26421 | 25821 | 24600 | 25990 | 0 | 25850 | 25250 | 25171 | 26421 | 0 | 25850 | 25250 | 25171 | 25850 | 0 | 26421 | 25250 | 24600 | 25990 | 0 | 26421 | 25821 | 24600 | 25850 | 0 | 25990 | 25250 | 25171 | 25850 |  |  |  | 717120